## Manual
COPYRIGHT (C) Embedded Acoustics BV, 2014
ALL RIGHTS RESERVED. This worksheet contains material protected under International and Federal Copyright Laws and Treaties. Any unauthorized use of this material is prohibited. No part of this worksheet may be reproduced or transmitted in any form or by any means, electronic or mechanical, including photocopying, recording, or by any information storage and retrieval system without express written permission from the author.
DISCLAIMER
THIS DOCUMENT IS PROVIDED "AS IS", WITHOUT WARRANTY OF ANY KIND, EXPRESS OR IMPLIED, INCLUDING BUT NOT LIMITED TO THE WARRANTIES OF MERCHANTABILITY, FITNESS FOR A PARTICULAR PURPOSE AND NONINFRINGEMENT. IN NO EVENT SHALL THE AUTHORS OR COPYRIGHT HOLDERS BE LIABLE FOR ANY CLAIM, DAMAGES OR OTHER LIABILITY, WHETHER IN AN ACTION OF CONTRACT, TORT OR OTHERWISE, ARISING FROM, OUT OF OR IN CONNECTION WITH THE SOFTWARE OR THE USE OR OTHER DEALINGS IN THE SOFTWARE
What does this worksheet do?
The purpose of this worksheet is to perform post-hoc calculations and analysis on STI measurement results obtained with the STIPA test signal and analysis method. Measurement data are imported into the worksheet either by hand or from a worksheet with data exported from the Bedrock SM50. The worksheet allows for factoring in (mathematically) the effect of adding noisem and of changes in the overall frequency transfer in the transmission chain (e.g, through changing equalizer settings). It also allows inspection of the effect of level dependent masking (which can be toggled on or off) and by disabling individual octave bands in the calculation.
How do I use this worksheet?
In general, you can input data in the fields that have a green background color. The yellow fields show output data. All fields except for the green ones are protected, so you can't edit them.
Step 1. Input measurement details | Signal dBSPL | 63 | 63 | 59 | 53 | 47 | 41 | 35
If you have a data file exported from the SM50, then import this as a worksheet in MS Excel and add the sheet with data into this workbook. Next open the "STIPA" workheet and in the green top fields make a reference to the signal levels and m-values per octaveband as shown here on the right. | M low | 1 | 1 | 1 | 1 | 1 | 1 | 1
Alternatively, you can enter STIPA measurement data by hand. | M hi | 1 | 1 | 1 | 1 | 1 | 1 | 1
Step 2. Your STI results are now showing. Check whether the data makes sense.
The STI indicated should be the same as the one you originally measured. You can also see if all m-values measured appear to be valid (a 0 or 1 flag is shown). If not, this is reason to distrust the measurement.
Step 3. Edit "Signal EQ (dB)" | Signal EQ dB | 0 | 0 | 0 | 0 | 0 | 0 | 0
This is a virtual equalizer. Enter values in dB per octave band (positive or negative) to find out how the STI is affected if the signal level (per band) is modified. Only use the equalizer when your measured data is noise free!
Step 4. Edit "Noise dBSPL" | Noise dBSPL | 0 | 0 | 0 | 0 | 0 | 0 | 0
Enter the octave band spectrum of (virtual) noise to take into account. This allows you the simulate the effect of a noisy environment based on "clean," noise-free STI measurements - simply input the noise spectrum as you would have measured it at your microphone position. If there was already noise present during measurements, the noise spectrum entered here simply represents an additional noise source. However, beware that equalizing noisy signal levels also changes the measured noise levels.
Step 5. Investigate the effect of the auditory masking algorithm
The auditory masking algorithm of the STI has a considerable impact on the overall STI at high sound levels. If the sound level measured by your STIPA meter was not properly calibrated during measurement, your STI results are affected. This toggle is also useful when you have measured electronic systems with a specific acoustic reference level - such as amplifiers or equalizers. This toggle should be set to "0" for such measurements.
Step 6. Disable octave bands that do not provide meaningful information
It is quite common to find that some octave bands (mosty the lowest and/or highest ones) can not contribute to intelligibility - in most cases because the signal level is simply too low. In some cases, these bands may still show unrealistically high m-values, due to anomalies in the measurement. Natural modulations (or impulsive sounds) in the background noise field, or from interfering "live" talkers, can falsely boost the m-values in such bands. If this happens, the STI gives a better representation of true intelligibility if the bands concerned are disabled.
Find out how sensitive your measurement is to changes…
By playing with the various values in the input fields of the worksheet, you can find out which changes make a difference and which ones don't. This helps you to determine how you can optimize the STI in the conditions you originally measured in - and which octave bands can contribute the most to achieve a higher overall STI.

## STIPA
Copyright Embedded Acoustics BV 2014 | STI Rev 4
Version 1.0
[7 empty] | STI = | 1
|  | 125 | 250 | 500 | 1k | 2k | 4k | 8k | dBA
| Signal dBSPL | 63 | 63 | 59 | 53 | 47 | 41 | 35 | 59.9497
| M low | 1 | 1 | 1 | 1 | 1 | 1 | 1
| M hi | 1 | 1 | 1 | 1 | 1 | 1 | 1
| M check | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Valid
| Signal EQ dB | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Noise dBSPL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.985
| Auditory masking | 1
| EQSignal dBSPL | 63 | 63 | 59 | 53 | 47 | 41 | 35 | 59.9497
| Tot Level dBSPL | 63 | 63 | 59 | 53 | 47.0001 | 41.0003 | 35.0014 | 59.9497
| Aud Mask dBSPL | -100 | 29.5 | 29.5 | 23.5 | 14.5 | 5.5001 | -3.4995
| Recepth dBSPL | 46 | 27 | 12 | 6.5 | 7.5 | 8 | 12
| Total noise dBSPL | 46.0001 | 31.4409 | 29.5813 | 23.6048 | 15.4167 | 10.3574 | 12.3794
| Acoustic SNR dB | 16.9999 | 31.5591 | 29.4187 | 29.3952 | 31.5833 | 30.6426 | 22.6206
| Mcor low | 0.98044 | 0.9993 | 0.99886 | 0.99885 | 0.99931 | 0.99914 | 0.99456
| Mcor high | 0.98044 | 0.9993 | 0.99886 | 0.99885 | 0.99931 | 0.99914 | 0.99456
| TI low | 1 | 1 | 1 | 1 | 1 | 1 | 1
| TI high | 1 | 1 | 1 | 1 | 1 | 1 | 1
| Disable bands | 1 | 1 | 1 | 1 | 1 | 1 | 1
| MTI | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| Eff SNR (MTI) | 15 | 15 | 15 | 15 | 15 | 15 | 15
manipulate signal levels and masking
control band results
Input measured STI data
Acoustic levels and auditory masking
M-correction
TI
MTI & STI
Effective SNR
valid?