## Import
RT60 Data import
How does this worksheet work?
This worksheet allows you to import RT60 measurements measured with your Bedrock SMxx measurement device. Make sure that the RT60 results files are copied onto your computer, or that the instrument is attached to USB and accessible as a mass storage device. Then press the button below ("Import RT60"). You can now select the measurement data files that you wish to import. NOTE: by using SHIFT and CTRL you can select multiple files for opening (for the correct file order, select the last measurement, hold shift and then select the first measurement and press open).The measurements are imported into the sheet named "Data." Use the sheet named "RT Browser" to browse through these measurements, or copy data directly from the "Data" sheet to your own Worksheet for further calculations. Note that importing data changes this worksheet, overwriting earlier data imports. We recommend that you keep the original version of this worksheet in a safe location, and that you use a new copy of this original file for each new project.
For support or to download the latest version of this file, please refer to our website
www.bedrock-audio.com
Version 2.0.8
COPYRIGHT (C) Embedded Acoustics BV, 2018
ALL RIGHTS RESERVED. This worksheet contains material protected under International and Federal Copyright Laws and Treaties. Any unauthorized use of this material is prohibited. No part of this worksheet may be reproduced or transmitted in any form or by any means, electronic or mechanical, including photocopying, recording, or by any information storage and retrieval system without express written permission from the author.
DISCLAIMER
THIS DOCUMENT IS PROVIDED "AS IS", WITHOUT WARRANTY OF ANY KIND, EXPRESS OR IMPLIED, INCLUDING BUT NOT LIMITED TO THE WARRANTIES OF MERCHANTABILITY, FITNESS FOR A PARTICULAR PURPOSE AND NONINFRINGEMENT. IN NO EVENT SHALL THE AUTHORS OR COPYRIGHT HOLDERS BE LIABLE FOR ANY CLAIM, DAMAGES OR OTHER LIABILITY, WHETHER IN AN ACTION OF CONTRACT, TORT OR OTHERWISE, ARISING FROM, OUT OF OR IN CONNECTION WITH THE SOFTWARE OR THE USE OR OTHER DEALINGS IN THE SOFTWARE
Import RT60

## RT Browser
Index | 1 | Band Hz | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | Band Hz | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
BW Hz
Filename | 0 | EDT
Note
Date | 0 | BWxEDT>16
Time | 0:00 | SNR
Bands | 0 | T20
Measurements | 0 | stdev
Locations | 1 | BWxT20>16
Meas per loc | 0 | SNR
T30
stdev
BWxT30>16
SNR
Prev
Next
Note on B10: You can specify the number of measurement locations, if you have made multiple measurements at different locations. This will only affect the standard deviation values.

## EDT
ID | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Note on B2: Measurement file ID number

## T20
ID | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Note on B2: Measurement file ID number

## T30
ID | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000 | 25 | 31.5 | 40 | 50 | 63 | 80 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Note on B2: Measurement file ID number

## Data
date | time | measurements | bandCount | EDT_values_25 | EDT_values_31.5 | EDT_values_40 | EDT_values_50 | EDT_values_63 | EDT_values_80 | EDT_values_100 | EDT_values_125 | EDT_values_160 | EDT_values_200 | EDT_values_250 | EDT_values_315 | EDT_values_400 | EDT_values_500 | EDT_values_625 | EDT_values_800 | EDT_values_1000 | EDT_values_1250 | EDT_values_1600 | EDT_values_2000 | EDT_values_2500 | EDT_values_3150 | EDT_values_4000 | EDT_values_5000 | EDT_values_6250 | EDT_values_8000 | EDT_values_10000 | EDT_values_12500 | EDT_values_16000 | EDT_values_20000 | EDT_status_25 | EDT_status_31.5 | EDT_status_40 | EDT_status_50 | EDT_status_63 | EDT_status_80 | EDT_status_100 | EDT_status_125 | EDT_status_160 | EDT_status_200 | EDT_status_250 | EDT_status_315 | EDT_status_400 | EDT_status_500 | EDT_status_625 | EDT_status_800 | EDT_status_1000 | EDT_status_1250 | EDT_status_1600 | EDT_status_2000 | EDT_status_2500 | EDT_status_3150 | EDT_status_4000 | EDT_status_5000 | EDT_status_6250 | EDT_status_8000 | EDT_status_10000 | EDT_status_12500 | EDT_status_16000 | EDT_status_20000 | T20_values_25 | T20_values_31.5 | T20_values_40 | T20_values_50 | T20_values_63 | T20_values_80 | T20_values_100 | T20_values_125 | T20_values_160 | T20_values_200 | T20_values_250 | T20_values_315 | T20_values_400 | T20_values_500 | T20_values_625 | T20_values_800 | T20_values_1000 | T20_values_1250 | T20_values_1600 | T20_values_2000 | T20_values_2500 | T20_values_3150 | T20_values_4000 | T20_values_5000 | T20_values_6250 | T20_values_8000 | T20_values_10000 | T20_values_12500 | T20_values_16000 | T20_values_20000 | T20_status_25 | T20_status_31.5 | T20_status_40 | T20_status_50 | T20_status_63 | T20_status_80 | T20_status_100 | T20_status_125 | T20_status_160 | T20_status_200 | T20_status_250 | T20_status_315 | T20_status_400 | T20_status_500 | T20_status_625 | T20_status_800 | T20_status_1000 | T20_status_1250 | T20_status_1600 | T20_status_2000 | T20_status_2500 | T20_status_3150 | T20_status_4000 | T20_status_5000 | T20_status_6250 | T20_status_8000 | T20_status_10000 | T20_status_12500 | T20_status_16000 | T20_status_20000 | T30_values_25 | T30_values_31.5 | T30_values_40 | T30_values_50 | T30_values_63 | T30_values_80 | T30_values_100 | T30_values_125 | T30_values_160 | T30_values_200 | T30_values_250 | T30_values_315 | T30_values_400 | T30_values_500 | T30_values_625 | T30_values_800 | T30_values_1000 | T30_values_1250 | T30_values_1600 | T30_values_2000 | T30_values_2500 | T30_values_3150 | T30_values_4000 | T30_values_5000 | T30_values_6250 | T30_values_8000 | T30_values_10000 | T30_values_12500 | T30_values_16000 | T30_values_20000 | T30_status_25 | T30_status_31.5 | T30_status_40 | T30_status_50 | T30_status_63 | T30_status_80 | T30_status_100 | T30_status_125 | T30_status_160 | T30_status_200 | T30_status_250 | T30_status_315 | T30_status_400 | T30_status_500 | T30_status_625 | T30_status_800 | T30_status_1000 | T30_status_1250 | T30_status_1600 | T30_status_2000 | T30_status_2500 | T30_status_3150 | T30_status_4000 | T30_status_5000 | T30_status_6250 | T30_status_8000 | T30_status_10000 | T30_status_12500 | T30_status_16000 | T30_status_20000
date | time | measurements | bandCount | EDT_values_31.5 | EDT_values_63 | EDT_values_125 | EDT_values_250 | EDT_values_500 | EDT_values_1000 | EDT_values_2000 | EDT_values_4000 | EDT_values_8000 | EDT_values_16000 | EDT_status_31.5 | EDT_status_63 | EDT_status_125 | EDT_status_250 | EDT_status_500 | EDT_status_1000 | EDT_status_2000 | EDT_status_4000 | EDT_status_8000 | EDT_status_16000 | T20_values_31.5 | T20_values_63 | T20_values_125 | T20_values_250 | T20_values_500 | T20_values_1000 | T20_values_2000 | T20_values_4000 | T20_values_8000 | T20_values_16000 | T20_status_31.5 | T20_status_63 | T20_status_125 | T20_status_250 | T20_status_500 | T20_status_1000 | T20_status_2000 | T20_status_4000 | T20_status_8000 | T20_status_16000 | T30_values_31.5 | T30_values_63 | T30_values_125 | T30_values_250 | T30_values_500 | T30_values_1000 | T30_values_2000 | T30_values_4000 | T30_values_8000 | T30_values_16000 | T30_status_31.5 | T30_status_63 | T30_status_125 | T30_status_250 | T30_status_500 | T30_status_1000 | T30_status_2000 | T30_status_4000 | T30_status_8000 | T30_status_16000